## Slide 1: Automatic generation of Engineering GUIs
Instrumentation and Controls Meeting
Developed by Rosemary Waghorn, Zai Wang and Andrew Starritt
Presented by Andraz Pozar
28/05/2021

## Slide 2: Background
9 new beamlines being built at the Australian Synchrotron
Standardisation is the name of the game (devices, controllers, cables, connectors, PCs, computer screens, OS, software, and engineering interfaces)
From standardisation comes reusability

## Slide 3: The grand idea
“Wouldn’t it be amazing if we could, at a click of a button, automatically generate every GUI needed to commission and run a beamline?”
... click of a button ...
  Someone needs to put in some effort somewhere
... automatically generate every GUI needed ...
  Every beamline and their scientists are different

## Slide 4: Information required to generate the GUIs
Existing:
  Standardised controls component types - CSBS
  Standard user interface (UI) files for each of those types – Qt Designer and QeFramework
  Relationships between controls components on each beamline - CSBS
  Component names so that the UI files can be instantiated with them – CSBS
New:
  Linking of components and assemblies from CSBS to UI files created using Qt Designer - new Engineering GUIs web application
  Script to combine all of the information end present it to users – Engineering GUIs generator

## Slide 5: Building blocks

## Slide 6: CSBS

## Slide 7: Qt Designer + QeFramework
https://github.com/qtepics/qeframework

## Slide 8: Engineering GUIs web page

## Slide 9: Custom assembly UI files

## Slide 10: Common component types UI files

## Slide 11: Common component type groups

## Slide 12: Generating an Engineering GUI

## Slide 13: An Engineering GUI – main window

## Slide 14: An Engineering GUI – assembly hierarchy

## Slide 15: An Engineering GUI – assembly view

## Slide 16: An Engineering GUI – controls hierarchy

## Slide 17: Thank you