## Slide 1
Nick Herrald, David Chandler, John Hart (AITC, RSAA)
<number>
Bearings in Cryogenic Environments
Notes: <number>

## Slide 2
Cryogenic systems
<number>

## Slide 3
Molybdenum disulphide
Commonly used
Picks up water when exposed to atmosphere
Fragile
<number>
Gold coating
Tungsten disulphide
Thin and uniform film (1-2um)
Durable
Jean Louis Lizona, ESO
Cryogenic lubrication
Ruby balls
Improved thermal conductivity

## Slide 4
<number>

## Slide 5
CTE mis-match
Integrated thermal strain, room temp to 70K
6061 Aluminium = -0.004 (typical housings)
304 Stainless Steel = -0.0028 (bearings)
100mm bearing H7 fit ~35um clearance
BUT:
Thermal strain on 100mm housing = -120um 
(Even worse for harder bearing steels)
<number>

## Slide 6
<number>
Symmetric arrangement of beam flexures
Thin inner ring absorbs thermal strain
Athermalisation techniques

## Slide 7
<number>
Cone vertices coincident: Anchor point
Dis-similar materials “slip” radially
(i.e. along cone surface)
Diametrical contraction matches longitudinal contraction, bearing pre-load is maintained, carousel centre position maintained

## Slide 8
<number>

## Slide 9
<number>