## Slide 1: Design and Beam Commissioning of Dual Harmonic RF System in CSNS RCS
Speaker：Liu Hanyang
Authors：Prof. Wang Sheng
Dr. Xu Shouyan
Dr. Liu Hanyang

## Slide 2: Main Content
    The dual harmonic RF system
    The beam loading effect
    Tomography in dual harmonic
    Beam measurement
    Next step

## Slide 3: CSNS Layout
80MeV H- linac
1.6GeV
RCS

## Slide 4: The Dual Harmonic RF System
170kW
（One MA cavity added，60kV）
200kW
（Three MA cavities added ，100kV）
500kW
（300MeV Linac energy）
?
Single harmonic(r=0)
Dual harmonic(r>0.5)
Reduce the longitudinal peak current intensity, and thus reduce the beam loss caused by space charge effect.
140kW has achieved

## Slide 5: Beam Loading Effect
One MA cavity,
1.56×1013 Particle number per bunch
Energy shift;
Bunch length increased
5000
10000
15000
20000
Q≈1.25
Notes: 20000/20ms extraction

## Slide 6: Beam Loading Effect
H=2(7000)
H=6 (20000)
H=4 (20000)
Unacceptable phase space filamentation
Note: Each harmonic is considered separately
Three MA cavities,
1.56×1013 Particle number per bunch

## Slide 7: Beam Loading Effect- Measurement
H2 8kV
H4 2kV
H6 1kV
2.06MHz
Measuremtnt
Simulation

## Slide 8: Beam Loading Effect-Compensation
Tank A
Tank B

## Slide 9: Tomography in dual harmonic
The restored image
The information of phase space
Base on th OpenXAL
https://doi.org/10.18429/JACoW-IPAC2019-MOPRB029

## Slide 10: Tomography in dual harmonic
Beam measurement
WCM
Restored
Differ

## Slide 11: Beam measurement
Add magnetic alloy cavity, r=0.8, adjust the second harmonic phase, ensure the peak height of both sides same(phase calibration)
The nominal cavity RF is 16.6kV, the cavity pressure of ferrite is 32kV, r=0.5, which is consistent with the theoretical results (voltage calibration).

## Slide 12: Beam measurement
MA cavity only
ferrite cavity only
both
MA cavity is insufficient for bunching
(Doesn’t matter)
The orbit in the arc section is consistent,
which ensures the timing and frequency are consistent to a certain extent

## Slide 13: Beam measurement-Optimizations
Simulation results
Similar works have been done during the beam commissioning

## Slide 14: Beam measurement-Optimizations
Matching of synchronous oscillation period and injection turn
Reduce the beam loss in the arc section and a certain degree of compression instability,
Extracted Bunch Length Compression (less than 120 ns)

## Slide 15: Beam measurement-Beam Status

## Slide 16: Next Step-Instability
transverse instability
longitudinal impedance of MA Cavity
(from power supply)

## Slide 17: Summary & Outlook
The beam commissioning with the first MA cavity in CSNS RCS has been completed, and the beam power has achieved to 140 kW, which is 40% higher than the design.
One more MA cavity will be installed in the summer of 2023;
Momentum collimator has been designed;
Octupoles have been designed to increase Landau damping;
Increase the beam power to 200kW with the linac energy of 80MeV

## Slide 18: Thanks for your attention !