## Slide 1: Towards ARPES at the Australian Synchrotron 3rd generation toroidal angle-resolving electron energy analyser

## Slide 2: Angle Resolved Photoelectron Spectroscopy
Conservation of energy and momentum in the photoexcitation process allows k-space to be probed
1. Measure the photoelectron momentum and kinetic energy (Ekin , K) OUTSIDE the sample
2. Determine initial state energy and wavevector INSIDE the sample
An ARPES experiment measures a range of electron vacuum momenta from the sample
Require detection as a function of emission angle and kinetic energy
Notes: Zaiping Guo & Xuebin Yu (Wollongong University) , Qinfen Gu (The Australian Synchrotron).
Powder diffraction provides crucial structural detail, unattainable elsewhere
Allows study of potential materials under working conditions
Informs the direction of research
Also:
“Splitting water to create renewable energy” was picked up by number of online science publications including: physorg.com and nature.com. The work was done in part at the AS and has XAS principal scientist Chris Glover as a co-author on the resulting Nature Chemistry paper. As the media release title suggests the work concentrates on ways to catalyse the splitting of water to provide a cheap source of hydrogen. In particular the study identifies a common mineral (birnessite) commonly found as a black stain on rocks as a central part of the manganese-based catalysis process.

## Slide 3: ARPES Key to revealing electronic bandstructure
Topological Insulators
Phosphorene, other “enes”
Li et. al, Nature Nanotechnology 9, 372 (2014)
M. Bianchi et al, Nat. Comm. 1, 128 (2010)
Superconductors
Zhang et al, Nature Nanotech. 9, 111 (2014)
Transition metal dichalcogenides
Xia et al, Nature Phys. 5, 398 (2009)
Bi2Se3
BSSCO
MoSe2
Notes: Zaiping Guo & Xuebin Yu (Wollongong University) , Qinfen Gu (The Australian Synchrotron).
Powder diffraction provides crucial structural detail, unattainable elsewhere
Allows study of potential materials under working conditions
Informs the direction of research
Also:
“Splitting water to create renewable energy” was picked up by number of online science publications including: physorg.com and nature.com. The work was done in part at the AS and has XAS principal scientist Chris Glover as a co-author on the resulting Nature Chemistry paper. As the media release title suggests the work concentrates on ways to catalyse the splitting of water to provide a cheap source of hydrogen. In particular the study identifies a common mineral (birnessite) commonly found as a black stain on rocks as a central part of the manganese-based catalysis process.

## Slide 4: Toroidal Electron Analyser : Fundamentals
A pair of oppositely charged concentric toroidal electrodes will image all photoelectron emission angles from a fixed surface azimuth
Dispersion of energy in toroidal sector => Kinetic energy measurement
Preservation of polar angle from sample => Polar angle measurement
qP
Ekin = const
Annular Detector Output
Notes: Zaiping Guo & Xuebin Yu (Wollongong University) , Qinfen Gu (The Australian Synchrotron).
Powder diffraction provides crucial structural detail, unattainable elsewhere
Allows study of potential materials under working conditions
Informs the direction of research
Also:
“Splitting water to create renewable energy” was picked up by number of online science publications including: physorg.com and nature.com. The work was done in part at the AS and has XAS principal scientist Chris Glover as a co-author on the resulting Nature Chemistry paper. As the media release title suggests the work concentrates on ways to catalyse the splitting of water to provide a cheap source of hydrogen. In particular the study identifies a common mineral (birnessite) commonly found as a black stain on rocks as a central part of the manganese-based catalysis process.

## Slide 5
Complete emission hemisphere measurement requires only to rotate azimuth angle 180°
The toroidal analyser accepts a “fan” of polar emission angle at a given energy
SR
Toroidal Electron Analyser: Fundamentals
Notes: Zaiping Guo & Xuebin Yu (Wollongong University) , Qinfen Gu (The Australian Synchrotron).
Powder diffraction provides crucial structural detail, unattainable elsewhere
Allows study of potential materials under working conditions
Informs the direction of research
Also:
“Splitting water to create renewable energy” was picked up by number of online science publications including: physorg.com and nature.com. The work was done in part at the AS and has XAS principal scientist Chris Glover as a co-author on the resulting Nature Chemistry paper. As the media release title suggests the work concentrates on ways to catalyse the splitting of water to provide a cheap source of hydrogen. In particular the study identifies a common mineral (birnessite) commonly found as a black stain on rocks as a central part of the manganese-based catalysis process.

## Slide 6: 1st Generation Instrument
Designed and built 1985. Commissioned at BESSY1, Berlin
Single Kinetic Energy measurement from sample
270° Polar angle acceptance
Electron detection using 1D Resistive Strip delay-line detector
Notes: Zaiping Guo & Xuebin Yu (Wollongong University) , Qinfen Gu (The Australian Synchrotron).
Powder diffraction provides crucial structural detail, unattainable elsewhere
Allows study of potential materials under working conditions
Informs the direction of research
Also:
“Splitting water to create renewable energy” was picked up by number of online science publications including: physorg.com and nature.com. The work was done in part at the AS and has XAS principal scientist Chris Glover as a co-author on the resulting Nature Chemistry paper. As the media release title suggests the work concentrates on ways to catalyse the splitting of water to provide a cheap source of hydrogen. In particular the study identifies a common mineral (birnessite) commonly found as a black stain on rocks as a central part of the manganese-based catalysis process.

## Slide 7: 1st Generation Instrument: BESSY1
Normal emission bandstructure mapping
Full Hemisphere Fermi Surface,Cu(111)
Notes: Zaiping Guo & Xuebin Yu (Wollongong University) , Qinfen Gu (The Australian Synchrotron).
Powder diffraction provides crucial structural detail, unattainable elsewhere
Allows study of potential materials under working conditions
Informs the direction of research
Also:
“Splitting water to create renewable energy” was picked up by number of online science publications including: physorg.com and nature.com. The work was done in part at the AS and has XAS principal scientist Chris Glover as a co-author on the resulting Nature Chemistry paper. As the media release title suggests the work concentrates on ways to catalyse the splitting of water to provide a cheap source of hydrogen. In particular the study identifies a common mineral (birnessite) commonly found as a black stain on rocks as a central part of the manganese-based catalysis process.

## Slide 8: 2nd Generation Instrument: BESSY2
Revised Toroidal Electrode System
Removal of exit slit allows for band of energies to pass to detector plane
10 x Larger => Increased Resolution
Refined Toroidal Curvature
=> Less aberrations
Requirement for new 2D
Detector solution
Notes: Zaiping Guo & Xuebin Yu (Wollongong University) , Qinfen Gu (The Australian Synchrotron).
Powder diffraction provides crucial structural detail, unattainable elsewhere
Allows study of potential materials under working conditions
Informs the direction of research
Also:
“Splitting water to create renewable energy” was picked up by number of online science publications including: physorg.com and nature.com. The work was done in part at the AS and has XAS principal scientist Chris Glover as a co-author on the resulting Nature Chemistry paper. As the media release title suggests the work concentrates on ways to catalyse the splitting of water to provide a cheap source of hydrogen. In particular the study identifies a common mineral (birnessite) commonly found as a black stain on rocks as a central part of the manganese-based catalysis process.

## Slide 9: 2nd Generation Instrument: BESSY2
Transmitted energy window ~ 10% pass energy
Polar Angle resolution ~ 0.1°
Energy dispersion at detector yields predicted resolving power of 1000
Cu d states
Cu sp states

## Slide 10
Some data over the years…
Early studies of graphene growth on SiC
Emtsev et al, Phys Rev B 77, 155303 (2008)
Seyller et al, Surf Sci. 600, 3906 (2006)
DySi2 nanowires on Si(111)
Wanke et al Surface Science 603 (2009) 2808
Photoelectron Diffraction: Cu(111)
Cousland et al J. Appl. Phys. 106, 093510 (2009)
Experiment
Theory

## Slide 11
Sample
Cu{421}
Typical example of a fcc metallic chiral surface
Beamline
UE56/2 PGM1, BESSYII, Berlin.
Techniques
Full-hemisphere X-ray Photoelectron Diffraction (XPD)
Full-hemisphere Fermi Surface mapping (FSM)
Cu{421}R
[132]
[112]
{111}
{100}
{110}
R
{111}
Cu{421}S
[132]
[112]
{100}
{110}
S
Chiral single crystal surfaces

## Slide 12
FS @ hn =200eV
2
1
Calculation (VO = 12eV)
[112]
[132]
kx
||
ky
||
[112]
[132]
kx
||
ky
||
2
1
Symmetry of XPD and FS features consistent with (421) orientation, or “R” surface
S-surface
R-surface
Fermi Surface Mapping
Determining the orientation…

## Slide 13
X-ray Photoelectron Diffraction
S-surface
R-surface
Cu3p, hn = 600eV
Stereographic Plane Projection
Determining the orientation…

## Slide 14
Full-hemisphere mapping of emission from the HOMO and LUMO of p-sexiphenyl adsorbed on Cu(110)
Molecular orbital density in real-space
HOMO
LUMO
First demonstration of the reconstruction of molecular orbital density of HOMO and LUMO-states through Fourier transform of half space emission distribution
Charge transfer from Cu(110) => occupied LUMO
Molecular Orbital Tomography
P. Puschnig et al., Science 326, 702 (2009)
Notes: Abstract:
Photoemission spectroscopy is commonly applied to study the band structure of solids by measuring
the kinetic energy versus angular distribution of the photoemitted electrons. Here, we apply this
experimental technique to characterize discrete orbitals of large p-conjugated molecules. By measuring
the photoemission intensity from a constant initial-state energy over a hemispherical region, we
generate reciprocal space maps of the emitting orbital density. We demonstrate that the real-space
electron distribution of molecular orbitals in both a crystalline pentacene film and a chemisorbed
p-sexiphenyl monolayer can be obtained from a simple Fourier transform of the measurement data.
The results are in good agreement with density functional calculations.
Choice words:
Here we demonstrate that
ultraviolet angle-resolved photoelectron spectroscopy
(ARPES) allows molecular orbital densities
to be reconstructed in real space in a rather simple
way, as exemplified by analyses of a crystalline
pentacene film and a chemisorbed monolayer,
p-sexiphenyl on Cu (110).
As a second example, we show that the
approach allows reconstruction of the orbitals of
p-sexiphenyl bonded to the Cu (110) surface. Not
only do we reconstruct a real-space image of the
HOMO, but we also show that the PE intensity at
the Fermi level that appears on adsorption has the
orbital structure of the lowest unoccupied molecular
orbital (LUMO).

## Slide 16
PTCDA on Ag(110)
Measurements performed with Scienta R4000 (conventional HSA)
Data requires stitching together for many individual measurements
Long time, beam damage…
Ziroff et al Phys. Rev. Lett. 104, 233004 (2010)
Toroidal vs HSA

## Slide 17
Growth in the ARPES community in Australia
Currently Australian researchers require access to overseas SR facilities for synchrotron ARPES
ARPES: From 1980’s – 2000’s, a very small user community ( < 10 ). Accessing Advanced Light Source Berkley, BESSY1/2 (Berlin)
Over last 5 years, a rapidly increasing demand for ARPES
2D Materials
Topological materials
Australia has a small photoemission community (mostly XPS)

## Slide 18: Outline
3rd Generation Toroidal Analyser
Offline (VUV lamp)
Online (SXR beamline)
Designed and Constructed @

## Slide 19
“Omni Wheel” Drive System
Key features
VUV lamp
Prep chamber
LEED
e-beam shoe
QCM
Deposition cells
Gas dosing
Synchrotron Light Port
Spectrometer
Labview based:
Vacuum control
Motion control
Camera control
Data acquisition
SPECS HSA3500
Voltage supply
CCD Detector
Liquid He Cryostat

## Slide 20: Machining outer toroid > 70kg of cast aluminium

## Slide 24: Motion Control, Sample Imaging
Notes: Zaiping Guo & Xuebin Yu (Wollongong University) , Qinfen Gu (The Australian Synchrotron).
Powder diffraction provides crucial structural detail, unattainable elsewhere
Allows study of potential materials under working conditions
Informs the direction of research
Also:
“Splitting water to create renewable energy” was picked up by number of online science publications including: physorg.com and nature.com. The work was done in part at the AS and has XAS principal scientist Chris Glover as a co-author on the resulting Nature Chemistry paper. As the media release title suggests the work concentrates on ways to catalyse the splitting of water to provide a cheap source of hydrogen. In particular the study identifies a common mineral (birnessite) commonly found as a black stain on rocks as a central part of the manganese-based catalysis process.

## Slide 25: Vacuum Control
Notes: Zaiping Guo & Xuebin Yu (Wollongong University) , Qinfen Gu (The Australian Synchrotron).
Powder diffraction provides crucial structural detail, unattainable elsewhere
Allows study of potential materials under working conditions
Informs the direction of research
Also:
“Splitting water to create renewable energy” was picked up by number of online science publications including: physorg.com and nature.com. The work was done in part at the AS and has XAS principal scientist Chris Glover as a co-author on the resulting Nature Chemistry paper. As the media release title suggests the work concentrates on ways to catalyse the splitting of water to provide a cheap source of hydrogen. In particular the study identifies a common mineral (birnessite) commonly found as a black stain on rocks as a central part of the manganese-based catalysis process.

## Slide 26
CCD Detector: first electrons observed from Cu(111) , hn = 21.2eV, Set Ekin = 13eV
First electrons!

## Slide 27
I(Ek , qP) at fixed f
LEED facilitates setting k direction
30% energy window summation
Surface state resolved
LEED; E = 120eV
LEED; E = 120eV
M
K
G
M’
Shockley Surface State
Bandstructure of Cu(111) : GM, hn = 21.2eV
First Data
Notes: Zaiping Guo & Xuebin Yu (Wollongong University) , Qinfen Gu (The Australian Synchrotron).
Powder diffraction provides crucial structural detail, unattainable elsewhere
Allows study of potential materials under working conditions
Informs the direction of research
Also:
“Splitting water to create renewable energy” was picked up by number of online science publications including: physorg.com and nature.com. The work was done in part at the AS and has XAS principal scientist Chris Glover as a co-author on the resulting Nature Chemistry paper. As the media release title suggests the work concentrates on ways to catalyse the splitting of water to provide a cheap source of hydrogen. In particular the study identifies a common mineral (birnessite) commonly found as a black stain on rocks as a central part of the manganese-based catalysis process.

## Slide 28
First Data
First Data
Dirac “Cone” of graphene near EF
“n type”
“p type”

## Slide 29
2017 Synchrotron Open Day

## Slide 30
2015 LIEF Upgrade ~$800K
Monochromated
VUV source
Low Temperature
STM
2D delayline
detector

## Slide 31
STM under assembly

## Slide 32
Prof. John Riley
Mr Eric Huwald
Prof. Robert Leckey
Acknowledgments
LIEF Partners