## Slide 1: Recent activities and achievements of the Munich Neutron Imaging Group
Michael Schulz, Alexander Backs, Dominik Bausenwein, Thomas Bücherl, Michael Lerche, Malgorzata Makowska, Martin Mühlbauer, Tobias Neuwirth, Burkhard Schillinger, Rudolf Schütz, Marc Seifert, Samantha Zimnik

## Slide 2: Munich

## Slide 3: 20km north: FRM II, Garching

## Slide 4: Munich Neutron Imaging Group (MUNIG)
ANTARES
NECTAR
ODIN@ESS
Guests & Students
M.Schulz
B. Schillinger
D. Bausenwein
A. Backs
M. Seifert
T. Neuwirth
A. Losko
R. Schütz
S. Zimnik
M. Lerche
E. Calzada
S. Soria
S. Sebold
T. Duong
T. Bücherl

## Slide 5: Outline
ODIN@ESS
ANTARES – cold neutrons
  instrument overview + typical applications
  recent instrumentation highlight: nGI upgrade
NECTAR – fast neutrons
  instrument overview + typical applications
  recent instrumentation highlight: thermal beam option

## Slide 6
Large-Scale Structures
Diffraction
Spectroscopy
Optical and Diffraction Imaging with Neutrons (ODIN)

## Slide 7
Control Hutch
Beam
Stop
Control Racks
Control Racks
Door
Cave
experimental
optical
ODIN Overview
Overview Chopper Cascade
Wavelength Frame Multiplication Chopper 1+2
Frame Overlap Chopper 1
FOC 2 + Band Pass
FOC 3
FOC 4
FOC 5
T0
Collimator
Detectors
Diffraction - Imaging
User
(for scale)
60m
A complex chopper system will provide wavelength resolution of 0.3-1%, the source-sample distance of 60m will give a natural resolution of 10%, together with a large experimental station this will offer unprecedented versatility.
More by Michael Lerche: today 13:15

## Slide 8: ANTARES – cold neutrons
3 chambers
Beam accessible along flight path -> high flexibility
L/D = 200 ... 7200
Flux: 108 n/cm²/s @ L/D=400
Cold neutron spectrum
Velocity selector + Double crystal monochromator
Polarized neutron imaging
Neutron grating interferometry

## Slide 9: ANTARES – cold neutrons
15m

## Slide 10: ANTARES – typical applications
inner ear of 230 My Massetognathus
cochlea
(hearing organ)
oval window
(stapes)
semicircular canals
(balance)
T. Knoche, et al., J. Power Sources, 331, 267 (2016)
M. Schulz, et al., J. Physics,
211, 012025 (2010)
T. Reimann, et al., Phys. Rev. B, 96, 144506 (2017)

## Slide 11: neutron grating interferometry (nGI)
p0=1.6 mm
p1=7.98 µm
p2=4.0 µm

## Slide 12: nGI upgrade
 | G0 | G1 | G2
Period | 1596µm -> 150µm | 7.98µm -> 24.4µm | 4µm -> 13.3µm
Depth | 20µm -> 185µm | 37.7µm | ~10µm -> 80µm

## Slide 13: Fabrication of improved G2 gratings
+80µm
Conventional inclined sputtering
Gd powder deposition in Si wafer
A. Gustschin, E17, Physics Derpartment TUM

## Slide 14: Performance of new setup
DC = 0.2 λ = 4Å
Visibility: V = 0.75
Maximum visibility nearly 4x previous setup
Extension of effective measurement range λ = 1.6Å ... 6Å
Improved SNR at shorter exposure times
Variable DC G0-gratings  Adjustment of flux vs. visibility
More by Tobias Neuwirth: Friday 10:00

## Slide 15: NECTAR – fission neutrons

## Slide 16: NECTAR – fission neutrons
  Fast (MeV) spectrum
L/D  200
Flux: 6.4•107 n / (cm² s)
Exposure time: ~1min
Resolution: ~0.5mm - 1mm
Samples max.
  80cm x 80 cm x 80 cm
  400kg

## Slide 17: NECTAR – typical applications
100 mm
Fe

## Slide 18: NECTAR – thermal beam option
project no: 05K16VK3
ANTARES
NECTAR
NECTAR
Remote switching between fast and thermal beam
Moveable 10mm B4C filter
L/D 200 … 800
Resolution: <<100µm
Φth = 8·106n / (cm² s)

## Slide 19: NECTAR – thermal beam option
collimator
beam limiter
detector upgrade
flight tube
More by Samantha Zimnik: Thursday 15:30

## Slide 20: Conclusions
ODIN will be a next generation neutron imaging instrument at ESS
NECTAR and ANTARES are available for all kinds of user experiements
Next proposal deadline is 28.9.2018
nGI Upgrade at ANTARES delivers highly improved performance
Thermal upgrade at NECTAR provides an additional modality for improved contrast

## Slide 21: Thank you!

## Slide 22: neutron grating interferometry (nGI)
Setup generates neutron interference pattern at detector:
Scattering at µm structures locally degrades interference pattern
Degradation of interference pattern mapped in the DFI
 DFI = spatially resolved USANS scattering map