## Slide 1: Development of Neutron Imaging Facility at DHRUVA research reactor, India
Dr. Tushar Roy
Bhabha Atomic Research Centre, INDIA
Co-authors: Yogesh Kashyap, Shefali Shukla, Mayank Shukla, Prashant Singh, Ravi Baribadalla, S.C.Gadkari

## Slide 2
Overview
Neutron imaging activities in BARC – historical perspective
DHRUVA Research Reactor
Neutron Imaging Beamline at DHRUVA reactor
Imaging Modalities
Some Applications…

## Slide 3
Overview of Neutron Imaging activities in BARC
Neutron imaging at APSARA Research Reactor (1995 - 2001)
APSARA Reactor
1 MWt
Swimming pool type
Neutron Radiography
Neutron Tomography - feasibility
Two-phase flow
Neutron detector
Thermal neutron flux ~ 1 x 106 n/(s-cm2)

## Slide 4
Some Results from APSARA
Two-phase flow : Thermal hydraulics study
Schematic of imaging set-up
Experimental set-up
Neutron radiograph of water flow inside SS tube at different time
Real-time flow visualization
Online void-fraction calculation
Void-fraction

## Slide 5
Schematic diagram of a simulated loop for natural convection-driven circulation
Some Results from APSARA

## Slide 6
Overview of Neutron Imaging activities in BARC
Neutron imaging at CIRUS Research Reactor (2010)
CIRUS Reactor
40 MWt
Vertical tank type
Neutron Imaging Beamline at CIRUS
Neutron Radiography
Neutron Tomography
Thermal neutron flux ~ 1 x 106 n/(s-cm2)

## Slide 7
Some Results from CIRUS
7
Radiograph
Tomograph – 3D view
Fuel injector of automobile

## Slide 8
Visualization of melting and solidification of Lead
Solid-liquid interface of lead during melting
Solid-liquid interface of lead during solidification
Melting of lead after 1 cycle of melting - cooling
Schematic of heating chamber
Some Results from CIRUS

## Slide 9
Non-Reactor based Neutron Imaging
Neutron radiography with isotopic source (Pu-Be) (1993)
The idea was used to design a neutron radiography system with D-T neutron source
Thermal neutron flux ~ 1 x 102 n/(s-cm2) with 6 Ci Pu-Be source
Feasibility study
Intensifier + CCD for digital imaging
Radiograph of water in test-tube
Radiograph of plastic bolt

## Slide 10
Non-Reactor based Neutron Imaging
Neutron radiography with Electron accelerator (2005)
Schematic of Neutron radiography assembly
9 MeV electron beam (Microtron)
Beam power ~ 1kW
Thermal Neutron flux ~ 1 x 104 n/(s-cm2)
Neutron Radiography set-up with microtron source at Mangalore University

## Slide 11: Neutron Imaging Facility at DHRUVA Research Reactor

## Slide 12
DHRUVA Research Reactor
Layout of various beamlines
Nat. uranium – heavy water
Vertical tank type
100 MWt

## Slide 13
Layout of beamlines at DHRUVA reactor
Neutron Imaging beamline
DHRUVA Reactor Hall

## Slide 14
Neutron Imaging Beamline

## Slide 15
Neutron Imaging Beamline
Beam shutter
Sample manipulator (X, Z, Theta)
Detector (Scintillator +Mirror +CCD)

## Slide 16
Sapphire single crystal (001)
Bismuth single crystal (111)
Gd aperture: 16mm
B4C and lead rings in the periphery to stop scattered neutrons and gamma
Collimator

## Slide 17
Detector
Scintillator : 6LiF:ZnS(Ag) - 100 micron

## Slide 18
Beam characterization
Spatial resolution ~ 170 micron

## Slide 19
Applications: Reactor Engineering
Hydride blisters in Zircalloy Pressure tube
Hydride blisters in PHWR fuel pin
Fuel pin
Blister

## Slide 20
Applications: Reactor Engineering
Hydrogen ingress in Zircalloy
50 ppm
75 ppm
25ppm
100 ppm
Neutron tomographic reconstruction of homogenized hydrogen distribution in zircalloy. Each of the four samples have been charged with different amounts of hydrogen

## Slide 21
Applications: Material Engineering
Turbine blade

## Slide 22
Applications: Material Engineering
Diffusion Bonding of Dis-similar Metals
Bonding of Ceramic-to-Metal Joints

## Slide 23
Applications: Material Science
Aluminium foam
Study of porosity and wall thickness distribution of metallic foam;
Parameters to be used for FEM analysis to model mechanical properties

## Slide 24
Applications: Geological
Geological sample from Jaisalmer river bed (Bandah Formation of middle Eocene age)
Radiograph
3D volume
The samples analyzed are bundles of boring produced by the xylophagous (organisms that live on woody substrates) bivalves, also called shipworms, belonging to the family Teredinidae. They have been observed within present and fossilized substrate of accumulated woods as well as in individual allochthones fossilized logs that were transported as detrital sediments in water. Distribution of modern Teredinidae are controlled by the factors such as temperature, salinity, and presence of xylic substrate. The availability of wood fragment as substrate also plays an important role and is directly related to the cyclic relative sea-level fluctuations. Studies on Bandah Formation will reveal the transgressive-regressive relative sea-level cycles of the ancient seaway that existed in western Rajasthan and the relation of these wood-boring organisms with respect to the changing sea.

## Slide 25
Applications: Archaeology & cultural heritage
Photograph of
Bronze Buddha statue
Neutron radiographs

## Slide 26
Applications: Archaeology & cultural heritage
Neutron tomography of Buddha statue
(Right) Wax remnants on surface due to bronze casting process are detected

## Slide 27
Neutron Phase Contrast Imaging
Conventional neutron radiography is based on only attenuation (removal) of neutrons in the beam path while phase sensitive techniques is based on detecting neutrons through ultra-small angles due to refraction or diffraction of coherent neutron wavefield.
For a large class of materials phase shift term dominates over the absorption term and hence the techniques which can reveal/retrieve the phase would help in increasing the sensitivity of conventional neutron imaging.

## Slide 28
Requires spatially coherent neutron source, high resolution neutron detector and propagation of wavefield behind the object
Propagation based Phase Contrast

## Slide 29
Neutron Phase Contrast Imaging

## Slide 30
Neutron Phase Contrast: Results

## Slide 31
Neutron radiograph of 1mm iron syringes (a) absorption image (b) phase contrast image alongwith the profile across the marked line
Neutron Phase Contrast: Results

## Slide 32
Applications: Pyrotechnic devices
Indigenously developed Non-Reactor based Neutron Radiography System
Imaging of pyrotechnic devices
Neutron Radiography System
Spin-Off
Neutron radiograph at reactor source
Thermal neutron flux ~ 1 x 104 n/(s-cm2) with D-T neutron source of strength 1 X 1010 n/s and L/d ~25
Neutron radiography with D-T neutron source (2016)

## Slide 33
Future direction
Bragg-edge imaging
Residual stress
Laminography
Phase retrieval and Phase tomography

## Slide 34
Acknowledgements
Dr. Amar Sinha
Dr.Yogesh Kashyap
Dr. Mayank Shukla
Shefali Shukla
Prashant Singh
Ravi B
Dr.S.C.Gadkari
Thank you