## Slide 1: Development of energy-selective and element-sensitive imaging using a compact D-D fast-neutron generator
Benoit Soubelet, Dr Robert Adams, Heiko Kromer, Dr Robert Zboray, Dr H.-M. Prasser
WCNR 11 – Sydney – September 2nd-7th 2018

## Slide 2: The compact D-D fusion generator
(Early-stage version)

## Slide 3: A bit more about these D-D neutrons
D-D generator: natural 2-3 MeV range
(conservation energy/momentum)
2.80 MeV
2.45 MeV
2.18 MeV
(for 80 keV deuteron beam)

## Slide 4: What do we call element sensitivity?

## Slide 5: Back to the theory: Neutron interaction with matter
Unique element- and energy-dependences
  Unique signature with attenuation measurements
Chart: Energy (MeV)
High attenuation
Low attenuation

## Slide 6: Element-specific signature: superiority of fast neutrons over photons

## Slide 7: Thus qualitative distinction is possible with fast neutrons.
But can it be quantitative as well?

## Slide 8: From element sensitivity to elemental content determination
Attenuation of neutrons: Beer-Lambert
Beam
Simplest sample with only one element 
 immediately accessible with 1 measurement
For random samples with M elements 
 Under-defined problem to get all the if 1 measurement

## Slide 9: Looking for a fully defined problem
At least M independent equations needed … where will we find them?
Remember: unique energy- and element-dependence of the neutron XS!
Let’s look at water
0°
120°
direction of emission (°)

## Slide 10: Example of elemental contrast with fast neutrons
5-cm iron pipe with mix of water and oil
water and oil
5e7 n/s, 90 CT projections, every 10 deg, 600s/CT (120h), 2mm, HCNO guess, Gaussian noise

## Slide 11: That was all theoretical.
1st work package: feasibility study

## Slide 12: Feasibility study with custom setup
Neutron detectors
Sample
Electronics
Automated goniometric measurement setup
Proof of principle with selected samples
  Alumina, magnesia, water
1st journal article with all details (under review)
1m

## Slide 13: Good agreement of the results
Some deviations still
Al2O3
MgO
H2O
Relative
difference

## Slide 14: What is the main cause of the deviations?
How can we correct it to get a robust quantitative method?

## Slide 15: Spectral uncertainties: a quasi-monoenergetic source?
Target
Deuterons slowing down in the target: fusion at different deuteron energies
Wide distributions forward and backward
Mono-energetic around 90 degrees
Energy/momentum conservation
Incoming deuterons
Fusion event
Neutron
2.8 MeV
2.7 MeV
2.6 MeV
Energy of deuterons
Target depth
DD cross-section
2.6
2.7
2.8
Neutron flux (A.U.)
Neutron energy (MeV)

## Slide 16: Spectral uncertainties: a quasi-monoenergetic source?
2.6
2.7
2.8
Neutron flux (A.U.)
Neutron energy (MeV)

## Slide 17: Polychromatic beam: effect on the results
“Smoothing” the cross-sections
Problematic for reconstruction
 tabulated

## Slide 18: The solution?
Calibration!
i.e. building our own cross-section database
(2nd work package – in progress)

## Slide 19: Custom cross-section database
Pure samples measured with custom setup will solve
  All spectral uncertainties
  All tabulated/evaluated data uncertainties
Not all the nuclides available under mono-nuclide form  subtraction method
Example with
hydrogen

## Slide 20: Conclusion and outlook

## Slide 21: Achievements and perspectives
Successful feasibility study of energy-sensitivity
  Albeit with some deviation from models
Current calibration: custom cross-section database
  Spectral/XS database uncertainties corrected
  Challenges of pure samples
Future developments (3rd work package)
  Full tomographic setup
  Combined X-ray capability
  Oil/water, WWI-II chemical ammunition
Comparative computed tomography of the Siemens star with neutrons and gammas (Co-60 source) in R. Adams’s work
Clark I C12H10ClAs

## Slide 22: Wir schaffen Wissen – heute für morgen
Thank you for your attention 
Do you have questions?

## Slide 23: Backup slides

## Slide 24: The compact D-D fusion generator
Plasma
Target
80 kV
Neutron
Deuteron
3He

## Slide 25: Characteristics of the PSI neutron generator
Reference
Forward
Backward 
~1.8
~1.6
Conservation of momentum and energy: angular energy distribution between 2-3 MeV
Non-isotropic yield
2 orders of magnitude smaller cross-section (compared to DT)
Angular distribution of the outgoing neutron energy, for a 200 keV incoming deuteron
Forward direction
Backward direction

## Slide 26: Compact fast neutron generators
Availability of a wide range of neutron sources
  Large-scale facilities: research reactors, spallation sources
  Small radioisotope sources: (alpha, n) with Am-241 and Be-9; spontaneous fission with Cf-252. Low polychromatic output.
  Compact sources: based on one of the “Big 4”
    Transfer reactions:
      Qvalue = -0.734 MeV Threshold = 1 MeV
      Qvalue = -1.640 MeV Threshold = 1.9 MeV
    Fusion reactions
      Qvalue = 17.6 MeV (DT)
      Qvalue = 3.27 MeV (DD)
Selection among the “Big 4”
  Transfer: Threshold too high
  DT: handling radioactive tritium is unpractical
  DD: lower cross-section issue

## Slide 27: Detecting fast neutrons
Interaction with plastic scintillator: Hydrogen scattering, ionization by recoil proton, light production (St Gobain BC400)
Light converted into electrical signal by SiPMs (Silicon PhotoMultipliers) And amplification by avalanche.
Signal is cleaned by pre-amplifier/amplifier
Signal is acquired by acquisition unit
Histogram
(or other)
Incoming
neutron
Photons
Recoil proton
Readable signal
Summary
Electrons

## Slide 28: Outgoing neutron energy

## Slide 29: Other explanation for the deviations
Reference = custom models, simulations
Beyond deuteron slowing down
  Deuterium distribution in target (migration, outgassing)
  Impurities in samples
  XS database issues
  Disagreement
  Scarcity
Energy of
deuterons
Target depth

## Slide 30: Effect of the deuterium implantation in the target on the neutron spectrum
Different neutron spectrum = different

## Slide 31: The complementary properties of photons and neutrons-based methods
Fast neutrons
100keV 0.0253 eV 662 keV ~1.25 MeV ~2.5 MeV ~14 MeV

## Slide 32: Computed Tomography: shell simulation
Test object:
  “L.F.H Gr. Blaukreuz”
  Caliber 77 mm
  14 mm walls
  49 mm product, so about
    25 mm TNT: O/H = 1.2
    25 mm Clark I: O/H = 0
Source/detector
  5e7 neutrons/s
  Source-detector 1m
  90 projections/CT, 300s/CT angle every 10 deg around the source
  Gaussian noise
  ~140h measurement (can be improved)
  Pixels can be binned together

## Slide 33: Carousel: the solution to save time around the DD generator

## Slide 34: CT arc, sample and plasma
New idea: energy-selective imaging capability  Elemental information

## Slide 35: Custom sealed containers
Some of the stable compounds are hazardous: As, CCl4, P, Mg, etc.
Custom built sealed stainless steel container
  Powder, liquid or solid form
Density measurement of powders with Cs-137 source
  Well-defined XS, mono-energetic source

## Slide 36: References
R. Zboray, R. Adams, M. Cortesi, and H.-M. Prasser, “Development of a fast neutron imaging system for investigating two-phase flows in nuclear thermal–hydraulic phenomena: A status report,” Nuclear Engineering and Design, vol. 273, pp. 10–23, July 2014.
R. Adams, R. Zboray, M. Cortesi, and H.-M. Prasser, “Conceptual design and optimization of a plastic scintillator array for 2d tomography using a compact D–D fast neutron generator,” Applied Radiation and Isotopes, vol. 86, pp. 63–70, Apr. 2014.
R. Zboray, I. Mor, V. Dangendorf, M. Stark, K. Tittelmeier, M. Cortesi, and R. Adams, “High-frame rate imaging of two-phase flow in a thin rectangular channel using fast neutrons,” Applied Radiation and Isotopes, vol. 90, pp. 122–131, Aug. 2014.
R. Adams, L. Bort, R. Zboray, and H.-M. Prasser, “Development and characterization of a D–D fast neutron generator for imaging applications,” Applied Radiation and Isotopes, vol. 96, pp. 114–121, Feb. 2015.
R. Adams, Computed tomography with a compact fast neutron generator. PhD thesis, ETH Zürich, 2015.
R. Adams, R. Zboray, and H.-M. Prasser, “A novel fast-neutron tomography system based on a plastic scintillator array and a compact D–D neutron generator,” Applied Radiation and Isotopes, vol. 107, pp. 1–7, Jan. 2016.
T. Shimizu, H. Sakane, S. Furuichi, M. Shibata, K. Kawade, and H. Takeuchi, “An improved pneumatic sample transport system for measurement of activation cross-sections with d-D neutrons in the energy range between 2.1 and 3.1mev,” Nuclear Instruments and Methods in Physics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment, vol. 527, pp. 543–553, July 2004.