## Slide 1: APS-U HLA Client Scripting Environment
Guobao Shen, Tom Fors, Andrew Johnson, Sinisa Veseli, Ned Arnold
Argonne National Laboratory
Nov 2018 EPICS Collaboration Meeting
2018-11-15

## Slide 2: APS-U Controls Software Infrastructure

## Slide 3: APS/APSU Controls Software
Current APS Status and APS-U Approach
Network
Others
EPICS Extensions
MEDM, alh, burt, StripTool, adt, …
MCR logbook
PV Gateways
PV Gateways
EPICS 3 IOCs
Technical Systems
EPICS 3 IOCs
Technical Systems
EPICS 3 IOCs
Technical Systems
EPICS 3 IOCs
Technical Systems
EPICS 7 (PVA)
Waveform/Image Viewer
Display Manager
EPICS 7 HTTP
Historian Data
EPICS 7 HTTP
Electronic logbook
EPICS 7
Save/Set/Restore
EPICS 7 HTTP
Alarm Service
EPICS 7 HTTP
Logging
Leverage from / collaborate with the EPICS Community
Physics Applications, Beam Study & MCR Tools
PEM, sddsexperiment,
1000s of scripts, …
Save/Compare/Restore,
Archiving, Glitch logger,
MPS Dump Review, …
EPICS IOC
Soft Records
(run control, etc)
EPICS 7
Virtual Technical System
Database
HTTP
Infrastructure Monitoring
Database
HTTP
Cable Management
Database
Traveler
EPICS 7 HTTP
Component Database
Database
HTTP
IRMIS
EPICS 7 DAQ IOCs
Technical Systems
EPICS 7 DAQ IOCs
Technical Systems
EPICS 7 DAQ IOCs
Technical Systems
EPICS 7 IOCs
Technical Systems
EPICS 7 IOCs
Technical Systems
EPICS 7 IOCs
Technical Systems
EPICS 7 IOCs
Technical Systems
EPICS 7
DAQ Server
EPICS 7
DAQ Data Management
EPICS 7
DAQ Processing
EPICS 7
sdds2pvObject
PV Gateways
EPICS 7
PV Gateways
EPICS 7
PV List
Database
Naming Service
EPICS 7 HTTP
Directory Service
SDDS-EPICS Toolkit
SDDS-EPICS 7 Toolkit

## Slide 4: HLA Client Scripting Environment
Python Based
  Python3.6 and above
PyQt5
pvaPy
Conda as the package and environment management system
  Keep ROOT environment minimum
  Application managed by its own conda environment
Directory structure design and version control

## Slide 5: HLA Client Scripting Environment
Network
Others
EPICS Extensions
MEDM, alh, burt, StripTool, adt, …
MCR logbook
PV Gateways
PV Gateways
EPICS 3 IOCs
Technical Systems
EPICS 3 IOCs
Technical Systems
EPICS 3 IOCs
Technical Systems
EPICS 3 IOCs
Technical Systems
EPICS 7 (PVA)
Waveform/Image Viewer
Display Manager
EPICS 7 HTTP
Historian Data
EPICS 7 HTTP
Electronic logbook
EPICS 7
Save/Set/Restore
EPICS 7 HTTP
Alarm Service
EPICS 7 HTTP
Logging
Leverage from / collaborate with the EPICS Community
Physics Applications, Beam Study & MCR Tools
PEM, sddsexperiment,
1000s of scripts, …
Save/Compare/Restore,
Archiving, Glitch logger,
MPS Dump Review, …
EPICS IOC
Soft Records
(run control, etc)
EPICS 7
Virtual Technical System
Database
HTTP
Infrastructure Monitoring
Database
HTTP
Cable Management
Database
Traveler
EPICS 7 HTTP
Component Database
Database
HTTP
IRMIS
EPICS 7 DAQ IOCs
Technical Systems
EPICS 7 DAQ IOCs
Technical Systems
EPICS 7 DAQ IOCs
Technical Systems
EPICS 7 IOCs
Technical Systems
EPICS 7 IOCs
Technical Systems
EPICS 7 IOCs
Technical Systems
EPICS 7 IOCs
Technical Systems
EPICS 7
DAQ Server
EPICS 7
DAQ Data Management
EPICS 7
DAQ Processing
EPICS 7
sdds2pvObject
PV Gateways
EPICS 7
PV Gateways
EPICS 7
PV List
Database
Naming Service
EPICS 7 HTTP
Directory Service
SDDS-EPICS Toolkit
SDDS-EPICS 7 Toolkit