## Slide 1: EPICS Java 7.0.2
Nov 2018
Epics Collaboration Meeting
Kunal Shroff, Gabriele Carcassi, George Weiss, Marty Kraimer, Ralph Lange

## Slide 2: EPICS Java 7.0.2
Released Nov 6th, 2018
Core Modules
pvData version 6.1.2
pvAccess version 5.1.2
ntTypes version 0.3.2
jca version 2.4.2
Support Modules
epics-util version 1.0.0
epics-vtypes version 1.0.0
gp-client version 1.0.0

## Slide 3: PVAccess & PVData
Version 5.1.2 and 6.1.2

## Slide 4: PVAccess: version 5.1.2
The code was successfully built with Java 1.8, Java 9.0.4 and Java 10.0.1
Dependencies to Corba have been removed
Put with and without callback
Maven javadoc tool fixes
Code clean-up classes considered superfluous removed.
Notes: Pv access
Changes in this commit are primarily for Java 9 or newer.
The code was successfully built with Java 1.8, Java 9.0.4 and Java 10.0.1, using
Maven 3.5.2 on Mac OS 10.12.6.
Summary of changes:
* Dependencies to Corba have been removed. This does imply a few API changes,
but should have very limited impact.
* Some pom files have been updated to fix an issue with the javadoc Maven plugin.
* javadoc warnings eliminated.
* Some html was changed due to the javadoc tool behavior in Java 9+, which
treats self-closing elements as errors and hence aborts the Maven build.
* Classes considered superfluous removed.
put with and without callback.
Pv data
Adding support for Numerical lists with unsigned support
Adding getter and putter for ListNumber on PVDoubleArray
Adding ListNumber support for PVIntArray and PVNumberArray superclass.
Integrated ListNumber support into signed numeric arrays.
Adding unsigned array support
Renamed XxxIntYyy to XxxIntegerYyy so it better follows Java conventions
Changes in this commit are primarily for Java 9 or newer.
The code was successfully built with Java 1.8, Java 9.0.4 and Java 10.0.1, using
Maven 3.5.2 on Mac OS 10.12.6.
Summary of changes:
* Dependencies to Corba have been removed. This does imply a few API changes,
but should have very limited impact.
* Some pom files have been updated to fix an issue with the javadoc Maven plugin.
* javadoc warnings eliminated.
* Some html was changed due to the javadoc tool behavior in Java 9+, which
treats self-closing elements as errors and hence aborts the Maven build.
* Classes considered superfluous removed.

## Slide 5: PVData: version 6.1.2
The code was successfully built with Java 1.8, Java 9.0.4 and Java 10.0.1
Adding support for Numerical lists
Adding unsigned array support
Maven javadoc tool fixes
Code clean-up
Notes: Pv access
Changes in this commit are primarily for Java 9 or newer.
The code was successfully built with Java 1.8, Java 9.0.4 and Java 10.0.1, using
Maven 3.5.2 on Mac OS 10.12.6.
Summary of changes:
* Dependencies to Corba have been removed. This does imply a few API changes,
but should have very limited impact.
* Some pom files have been updated to fix an issue with the javadoc Maven plugin.
* javadoc warnings eliminated.
* Some html was changed due to the javadoc tool behavior in Java 9+, which
treats self-closing elements as errors and hence aborts the Maven build.
* Classes considered superfluous removed.
put with and without callback.
Pv data
Adding support for Numerical lists with unsigned support
Adding getter and putter for ListNumber on PVDoubleArray
Adding ListNumber support for PVIntArray and PVNumberArray superclass.
Integrated ListNumber support into signed numeric arrays.
Adding unsigned array support
Renamed XxxIntYyy to XxxIntegerYyy so it better follows Java conventions
Changes in this commit are primarily for Java 9 or newer.
The code was successfully built with Java 1.8, Java 9.0.4 and Java 10.0.1, using
Maven 3.5.2 on Mac OS 10.12.6.
Summary of changes:
* Dependencies to Corba have been removed. This does imply a few API changes,
but should have very limited impact.
* Some pom files have been updated to fix an issue with the javadoc Maven plugin.
* javadoc warnings eliminated.
* Some html was changed due to the javadoc tool behavior in Java 9+, which
treats self-closing elements as errors and hence aborts the Maven build.
* Classes considered superfluous removed.

## Slide 6: New PVData & PVAccess API’s
PVDoubleArray array = (PVDoubleArray) table.getColumn(value);
// Old PVData API
DoubleArrayData data = new DoubleArrayData();
int len = array.get(0, array.getLength(), data);
List<Optional<Double>> list = Arrays.asList(data.data).stream().map(Optional::ofNullable).collect(Collectors.toList());
list.get(0);
// New PVData API with written with epics util
Double value = array.get().getDouble(0);

## Slide 7: JCA
Version 2.4.2

## Slide 8: JCA version 2.4.2
Merges JCA library and the pure java implementation (CAJ)
  <dependency>
  <groupId>org.epics</groupId>
  <artifactId>jca</artifactId>
  <version>2.4.2</version>
  </dependency>
Rewrote a majority of the unit tests using the jca channel access server (cas)

## Slide 9: Epics Util
Version 1.0.0

## Slide 10: Scope of EPICS util
This library is meant to provide basic functionality that we’d hope someday to be directly supported in the Java standard library
  Before Java 8 there was no class to represent nanosecond precision timestamps
  Numeric collections are not provided by Java, though they may be supported in the future (http://openjdk.java.net/projects/valhalla/)
While some of the same functionality may be provided by other third party libraries (e.g. Jakarta commons) they typically come with constraints
  We want to make sure the performance requirements are met
  We want to keep dependency limited
It is meant to be used across all other EPICS Java projects

## Slide 11: Numeric collections

## Slide 12: Numeric collections
While Java provides a rich collection framework for Objects, it does not provide collections for primitives
  The only collection provided is the array of primitives
  All arrays are read/write, which makes it impossible to implement thread-safety through immutability or to not expose internal state without expensive copies
  Each array type is different, therefore one has to code to all 6 primitive types independently
  Each array type is a concrete class, making it impossible to provide optimization such as lazy initialization
Support for numeric collections is provided within org.epics.util.array
  The hope is that value types and generic reification from Project Valhalla will make these obsolete at some point

## Slide 13: Basic interfaces
EPICS util provide a set of interfaces that are as much as possible similar to the Java Collection framework
The most basic interface is the CollectionNumber that, through the IteratorNumber, allows iteration through a generic collection of primitives
org.epics.util.array provides support for numeric collections
  Allows iterating on a set of numbers regardless of their type
  Allows creating read-only wrappers
  Allows implementing arrays that are lazily calculated
  If using the concrete array implementations, the performance is guaranteed to be the same as using arrays directly
Includes interfaces/implementations for all 10 numeric types (2 floating point, 4 integers, 4 unsigned integers)

## Slide 14: Unsigned types

## Slide 15: Unsigned integers
Java does not provide native support for unsigned types
  Consequently, EPICS support in Java for unsigned types has always been subpar
Support for unsigned integers is provided by the package org.epics.util.number, which consists of two parts
  UnsignedConversions provides utility methods to convert primitive values
  ULong, UInteger, UShort and UByte provide primitive wrappers that extend java.lang.Number

## Slide 16: UnsignedConversions
UnsignedConversions provides all the possible widening conversions (narrowing conversions are the same) through static methods
  Widening means going from smaller number of bits (e.g. 8 bits) to larger number of bits (e.g. 16 bits): these are the ones that do change if the narrower type is signed or not
  Narrowing does not change, so one can use normal casting: the operation is the same whether the narrower type is signed or not
The Java standard library does not provide all possible conversions
  Java 8 introduced some methods like Integer.toUnsignedLong
  It didn’t introduce Byte.toUnsignedShort or Long.toUnsignedFloat

## Slide 17: Unsigned integers wrappers
UByte, UShort, UInteger and ULong provide java.util.Number implementations that represent unsinged integers
  Allows to use unsigned integers wherever normal wrappers are used
  They implement all possible widening/narrowing conversions through the standard Number.xxxValue()

## Slide 18: Create unsigned types
// Create Unsigned numerical Types
Number number = new UByte((byte) 167);
System.out.println("Unsigned byte value: " + number);
number = new UShort((short) 65535);
System.out.println("Unsigned short value: "+ number);
number = new UInteger((int) 4294967295L);
>> Unsigned byte value: 167
>> Unsigned short value: 65535
coll = ArrayUByte.of(new byte[] {(byte) 255,(byte) 254,(byte) 253});
System.out.println("Average of " + coll + " is " + calculateAverage(coll));
>> Average of [255, 254, 253] is 254.0

## Slide 19: Generic Purpose Client
Version 1.0.0

## Slide 20: What is the Generic Purpose Client?
It’s the “just give me some data and take care of all the threading stuff” client library
PVReader<VType> pv = GPClient
.read(“pva://MGNT10:CurrRB")
.addListener((PVEvent event, PVReader<VType> p) -> {
    System.out.println(event + " " + p.isConnected() + " " + p.getValue());
    })
.start();

## Slide 21: What is the Generic Purpose Client?
It’s a better version of pvmanager/diirt
  Client library to be used when writing a generic purpose application, that does not particularly care about protocol details and does not need an ad-hoc caching and synchronization model
  It’s a redesign based on the past experience: we kept what was working, removed the parts of the architecture that we never actually used and better generalized the parts that were used

## Slide 22: What is the Generic Purpose Client?
Protocol Level API (focus on raw performance and feature completeness)
Generic Purpose API
(focus on user productivity)
Scripts
User interfaces
Testing
Data integration
A generic purpose API that focuses on user productivity
  Generic (not general) in the sense that is good for 90% of the use cases (but not all)
  Give a quick way to implement complex cases with all the hard bits taken care
User interfaces, scripts and productivity tooling would typically bind to this API

## Slide 23: Main characteristics
Small footprint
  The core is 46 classes
Extensible architecture: each boundary point is exposed through an interface/abstract class
  E.g. Data sources, caching strategy, event aggregation strategy, background computation, thread pool for processing, notification thread, etc. are all things that can be customized
A well thought out threading strategy that shields the user from all typical concurrency issues
  Minimizes use of locks, locks are not leaked, client processing does not lag, computation is done in the background, notification is done on the thread you need to, …
  The strategy is well documented in the code, using standard best practices
    All that can be final/immutable is made so
    Each class has a lock that guards a specific set of private variables and the lock is never exposed in a user callback

## Slide 24: GPClient core architecture
Rate decoupler
Collectors
Background computation
Source rate
Desired rate
Client callback

## Slide 25: GPClient
Rate decoupler
Collectors
Source rate
Desired rate
Client callback
Monitor one PV with no processing

## Slide 26: GPClient
Rate decoupler
Collectors
Source rate
Desired rate
Client callback
New value from EPICS
is written in the collector

## Slide 27: GPClient
Rate decoupler
Collectors
Source rate
Desired rate
Client callback
Collector notifies
rate decoupler

## Slide 28: GPClient
Rate decoupler
Collectors
Source rate
Desired rate
Client callback
Rate decoupler reads
value and prepares notification

## Slide 29: GPClient
Rate decoupler
Collectors
Source rate
Desired rate
Client callback
Callback is notified

## Slide 30: GPClient
Rate decoupler
Collectors
Source rate
Desired rate
Client callback
Burst of values from EPICS
while the client
is processing

## Slide 31: GPClient
Rate decoupler
Collectors
Source rate
Desired rate
Client callback
Rate decoupler waits
(without locking)

## Slide 32: GPClient
Rate decoupler
Collectors
Source rate
Desired rate
Client callback
Once the callback is done
a new event is prepared

## Slide 33: GPClient
Rate decoupler
Collectors
Source rate
Desired rate
Client callback
Rate decoupler sends
a single new notification

## Slide 34: Advanced setup
Rate decoupler
Collectors
Background computation
Source rate
Desired rate
Client callback
Process a large dataset based
(e.g. from a large waveform, calculate the average/mean/min/max of a
selected window)

## Slide 35: Flexible pipeline
The GPClient allows the creation of flexible pipelines that combine notifications from various source (e.g. multiple EPICS channels, services, UI, …) into a well controlled stream
  This is important because if each processing piece has its own queuing, background thread, etc it becomes very hard to coordinate them
The idea is to work on a customizable framework that covers multiple use cases instead of one pipeline for each application
  It allows to use the same knowledge/testing/features in different setups
Putting all events in a single processing engine is necessary to handle them correctly and efficiently as a whole

## Slide 36: Client-side rate and notifications

## Slide 37: Client-side rate and notifications
There are 3 key features that interact with your callbacks and allow you to write real-time clients that behave correctly
  Rate throttling: this makes sure that you won’t get a notification rate that is too much for your client to handle (e.g. your client is temporarily busy, the event rate will slow down)
  Rate limiting: this makes sure that you won’t get a notification rate that is too fast for your client to be useful (e.g. your client is a UI and there is no point in processing data faster than 50 Hz)
  Notification thread: this makes sure that you will get notified on the thread or thread pool you need (e.g. you need to be notified on the UI thread)

## Slide 38: Event lagging
A typical badly written EPICS UI client may behave like this:
  Connects to the library and every event that comes in results in a UI refresh
  A burst of notifications comes in
  The burst is too fast for the client to handle, so events start queuing
  The data displayed by the UI starts being stale (e.g. half a minute behind)
  The queues start failing in an unpredictable ways
That is: exactly when you need your monitoring tool the most (e.g. when there is a lot of stuff going on) it behaves poorly
Writing a good EPICS client means understanding what happens in these conditions
  The GPClient, if used correctly, will help handle these conditions without writing extra code

## Slide 39: Rate throttling
Rate throttling means that a new event is not sent (in fact, is not even prepared) before the old event was finished
  If your client is temporarily slowed down, you get fewer events so that you can catch up
  Events are serialized (i.e. come one after the other, not written on disk), which avoids a whole class of race conditions
  During a notification, all background processing is suspended (i.e. new events are simply queued in the collectors) so only processing that actually results in a notification ever occurs

## Slide 40: Caching and queueing
The collector is the part that takes the events coming in while the client is processing. The collector is the part that decides what to do with the new values coming in. There are two standard implementations:
  LatestValueCollector: this only keeps the latest value and skips everything in between. This is the most common desired behavior and it is the default. If you are displaying the value of a channel, for example, you most likely want to be displaying the latest one.
  AllValuesCollector: this keeps all the values that arrive between notifications. It means that the client notification is on a list of values and not on a single value. If you are displaying a graph, for example, you most likely want to display all the values in between

## Slide 41: Rate limiting
Regardless of rate throttling, you most likely will want to limit the rate of events coming in: there is usually a rate above which processing events becomes inefficient
  If logging values to a database, it is better to send one query every 100 ms with all the values instead of a 100 queries every 1 ms
  If displaying values in a UI, processing events at a rate higher than 50Hz means the eye can’t see the change, while updating a string faster than 10Hz means you can’t read it
Rate limiting allows you to adjust the maximum rate you are going to receive, and you are always guaranteed that the last value is not skipped

## Slide 42: Notification thread
All these functionality works assuming all your processing happens within the callback. This means: you should not forward events to other queues.
  Event throttling would just sense that you finished forwarding the event, events would pile up on another queue (i.e. the UI thread queue) and you are back where you started
This means you have to tell the GPClient on what thread or thread pool you want to be notified on
  This is done through the standard Java Executor class

## Slide 43: Writing values
To write values, one has to open the pv in write mode
There is a separate write connection event, which signifies that you are connected and ready to write (e.g. you have the appropriate privileges)
  You can write only if the pv is writeConnected
When writing, you can decide whether to write synchronously (i.e. on the same thread) or asynchronously. When writing asynchronously, you can decide whether the write notification (i.e. success or failure) will be routed to the standard callbacks or to callbacks that are specific for that call.
  E.g. a script will likely use the synch call, a widget will likely use asynch, …

## Slide 44: Links:
Epics 7.0.2 release binaries Github: https://github.com/epics-base/epicsCoreJava/releases/tag/epics-7.0.2
Maven Central: https://search.maven.org/search?q=org.epics
Sources:
https://github.com/epics-base/epicsCoreJava