## Slide 1: Alarm Configuration Service
Kunal Shroff
Evan Smith
Tanvi Ashwarya

## Slide 2: BEAST
Alarm Cfg & State
RDB
IOCs
Alarm Server
Current Alarms: Acknowledged? Transient? Annunciated?
LOG
Message RDB
JMS 2 Speech
JMS 2 RDB
Tomcat
Reports
CSS Applications
Alarm Client GUI
JMS
Alarm Updates
Ack’; Config Updates
Annunciations
Log Messages
TALK
ALARM_CLIENT
ALARM_SERVER
PV Updates (Channel Access, …)

## Slide 3
Alarm
Server
Alarm
Message
Logger
Alarm
Configuration
Server
Channel
Access
IOC
PVA
IOC
Alarm
Clients
Alarm micro services
Control
Systems
CS-Studio
…
…

## Slide 4: Alarm Configuration Service
Motivation
Log the configuration changes made to the alarm server configuration
Build and Run
git https://github.com/shroffk/phoebus.git
cd services/alarm-config-logger
mvn exec:java
Alarm
Configuration
Server
Subscribe,
Filter,
Timestamp,
Process
Alarm Configuration Messages

## Slide 5: Alarm Configuration Tree
Notes: Mapping of the alarm tree to the file structure

## Slide 6: Configuration History

## Slide 7: Configuration events

## Slide 8: Configuration events

## Slide 9: Restore Scripts
Each alarm configuration change results in the creation or an update to the config.xml file.
The config.xml can be directly imported into the alarm server to restore it to the alarm configuration to that instant.