## Slide 1: Archiving and Alerting in ASKAP InfluxDB, Grafana, Kapacitor & Alerta
Astronomy and Space Science
Craig Haskins
2018 EPICS Collaboration Meeting, Melbourne
16th November 2018

## Slide 2: DiaMoniCA (MoniCA + Influx + Grafana + Alerta)
MoniCA (archiver)
Grafana
(data vis)
InfluxDB
(time series)
Kapacitor
(stream processing)
Alerta
Telegraf
(host stats)
Non-epics source (e.g. weather, RFI monitoring)
EPICS IOCS
open source
development

## Slide 3: Grafana Real Time & Archive Data Visualization
Grafana update rate good for 5s
Based on HTTP query/response to influx database
Need to get the query expression to Influx correct

## Slide 4: Alerting in Kapacitor
InfluxData’s ”Stream Processing Engine”
Data streamed from Influx to Kapacitor as it is archived.
Kapacitor runs “tasks” which process time series data in real time
Operates over all influx tags (single alert specification for all instances of monitoring point)
Built in threshold alerting
User Defined Functions can be written in Python or Go for custom anomaly detection or data manipulation.
stream
|from()
.measurement(‘paf.temps’)
.groupBy(‘antenna’)
|window()
.period(60s)
.every(10s)
|mean(‘pafAverageTemp’)
.as(‘meantemp’)
|alert()
.warn(lambda: ‘meantemp’ > 40)
.crit(lambda: ‘meantemp’ > 45)
.alerta()
.services(‘PAF’)
.event(‘HIHI Alarm’)

## Slide 5: Configuring Kapacitor
Point Descriptions in Code
EPICS DB
Archiver Configuration
Kapacitor JSON
Parser
EPICS IOC
Archiver
Kapacitor
InfluxDB
Run time
Build time

## Slide 6: Alert Management
Currently running CSS/BEAST but looking for replacement
Evaluating Alerta
  Python Service with Web UI
  RESTful HTTP API
  Deduplication, correlation and auto acknowledge of alerts.
  Integrates out of the box with Grafana & Kapacitor

## Slide 7: Sandbox
Try it yourself
Forked github repo to add Grafana + Alerta
http://github.com/craigh555/influx-sandbox
./sandbox up

## Slide 8: Thank you
CSIRO Astronomy and Space Science
  Craig Haskins
  Software Engineer
    t +61 8 6436 8620
    e Craig.Haskins@csiro.au
    w http://www.atnf.csiro.au
Astronomy And Space Science