## Slide 1: caproto
Dan Allan, Thomas Caswell, Ken Lauer
EPICS meeting 2018-11-15

## Slide 2: caproto: sans I/O
kah-proto
https://nsls-ii.github.io/caproto
Separate implementation of network protocol rules from pushing bits around
Have a core library that enforces the state machine / rules
  You hand it bits off the wire and it hands back nice python objects
  You hand it nice python objects and hands you back bits to push to the wire
Outer layer manages I/O, sockets, contexts, ...
Cory Benfield, Brett Cannon, Nathaniel Smith

## Slide 3: caproto: history
Started as side-project by Dan Allan
  Developed in collaboration with Ken Lauer at SLAC
  DA presented 15 minute talk at EPICS meeting @ APS in June
Implements servers, clients, and CLI tools
Server passes acctst (official EPICS server acceptance tests from J Hill)
Includes a client swappable with pyepics in {ophyd, pydm}
CLI tools:
  caproto-get, caproto-put, caproto-monitor
  Supports almost all standard arguments
  Adds nice extras like verbosity, better formatting, nicer inputs (–d time vs –d 16)

## Slide 4: caproto: Why do this?
Portable: Pure python, no dependencies out of standard library
Easy to install: python –m pip install caproto
Easy to write IOCs: (see next slide)
Manage concurency and memory copies
Bridge EPICS with web-services: EPICS <-> REST
Handy for debugging: logging down to the CA message level

## Slide 5: caproto: complete IOC
#!/usr/bin/env python3
from caproto.server import pvproperty, PVGroup, ioc_arg_parser, run
class SimpleIOC(PVGroup):
"An IOC with two simple read/writable PVs"
A = pvproperty(value=1)
B = pvproperty(value=2)
if __name__ == '__main__':
ioc_options, run_options = ioc_arg_parser(
default_prefix='simple:',
desc="Run an IOC with two simple, uncoupled, readable/writable PVs.")
ioc = SimpleIOC(**ioc_options)
run(ioc.pvdb, **run_options)

## Slide 6: caproto: install it
python3 –version # >= 3.6
python3 -m pip install -U caproto
python3 -m caproto.ioc_examples.simple --list-pvs
caproto-put -c simple:A 42